LO reference system PDR

Dick Plambeck, 12 Jan 2004

Overview

The LO reference system distributes three reference signals from the control building over optical fiber to each antenna:

- 1100-1260 MHz, tunable

- 10 MHz, fixed (+ 1 pps clock tick)

- (50 MHz from lobe rotator

To allow for subarrays, the 1100-1260 MHz reference tone may be derived from any of three independent frequency synthesizers.

To track variations in the propagation delay through the optical fibers, an echo of the 1100-1260 MHz tone is returned from the antenna to the control building over a 4th optical fiber, and linelength receivers in the lab monitor the roundtrip phase.

Design goals:

- Minimize phase shifts due to temperature changes or flexure of the fibers.

- Allow for up to 6 dB excess loss in the fiber, beyond the 3 dB loss expected.

- Fiber components should contribute minimal additional phase noise to the local oscillators.

- All boxes with photodiodes should provide a monitor voltage proportional to the photodiode current, to help diagnose problems with excess loss in the fibers.

Lab components

Figure 1 shows the 1100-1260 MHz distribution system in the lab.  Three synthesizers are provided.  Generally one will be used for OVRO+BIMA, another for the SZA, and the third for tuning or other tests on selected antennas.

Each synthesizer is connected to an LO reference distribution box (Figure 2).   This box amplifies the synthesizer signal and splits it to provide 16 outputs at a level of approximately +13 dBm appropriate to drive the optical transmitters.  In addition, each reference distribution box includes an offset oscillator, phaselocked to frequency ((synth + 10 MHz), which is needed by the linelength receivers; this offset signal also is split 16 ways for distribution to the linelength receivers.  Finally, each LO distribution box incorporates a reference linelength receiver which directly measures the phase of the outgoing synthesizer frequency.

The outputs of the LO reference boxes are connected to the laser transmitters and linelength receivers in a coax patch panel.  In the future we may be able to replace this with an RF matrix switch.

Optical transmitter/receiver boxes contain the actual laser transmitters and linelength receivers.  The optical transmitters are Fiber-Span AC223T-1.3 lasers, one per antenna.  These operate at 1310 nm and have typical laser output powers of 2 to 4 mW.  A linelength receiver is mounted next to each laser so that the fibers carrying the outgoing and echo reference signals to each antenna may be kept physically close together.  The linelength receivers provide 50 Hz sine waves to a/d converters in the National Instruments 6031E i/o card; the phases of these low frequency sine waves change as the delay through the fibers changes with temperature or flexure.

A low frequency synthesizer and splitter box provide a common 9.99995 MHz reference tone to all the linelength receivers.

An RF multiplexer (Agilent 34970A with 34905A plugin) and counter (Agilent 53181A) are used to check the frequencies of all the synthesizers and offset frequency generators.  The multiplexer and counter are controlled through an IEEE 488 bus.

Not shown in Figure 1 are the 10 MHz and 50 MHz distribution systems.  The 10 MHz distributor box converts the 10 MHz reference tone to a chain of pulses.  A 1 pps clock tick is used to excise one pulse each second.  The pulse train is sent to an Ortel 3120A laser (1310 nm, approx 1 mW output power).  The laser power is split 16 ways in an optical power splitter and transmitted to the antennas on singlemode fiber.

The ~50 MHz signals from the lobe rotators are coupled to other singlemode fibers for distribution to the antennas.

Fiber distribution

Figure 3 shows the fiber distribution system.  Both the 1100-1260 MHz outgoing signal and its echo are handled by a single patch panel, since it is important to keep these fibers physically close.  The 10 MHz and 50 MHz signals may be  handled either together  in another patch panel, or separately in two additional patch panels.

An optical loss of about 3 dB is expected for each fiber:

- 5 FC-APC connectors, 0.35 dB loss each

- 2 km fiber, 0.35 dB/km at 1310 nm

- perhaps 10 splices at 0.1 dB each

Antenna electronics

Three boxes on each receiver – the LO terminator box, the 10 MHz receiver, and the 50 MHz receiver -  are used to regenerate the phaselock reference signals at each receiver.  These boxes are described in separated documents.

Figure 1.  1100-1260 MHz distribution in the lab.

Figure 2.  LO reference distribution box.

Figure 3.  Fiber distribution.